# Adding TCPIP support to Industrial SQL Server system

By:Bryan Plaster, Standard Automation

Even though you click on the different network support that you want when installing industrial SQL Server, it ignores you.  So to make it so clients can access the Industrial SQL Server using TCPIP, do the following.

- go into SQL Setup

- click OK and continue until you get to the network screen like this

- then check these boxes (yes, all three)

Then hit continue and OK and stuff until you are done.

Don’t restart just yet!!

- go into the registry editor

Click on HKEY_LOCAL_MACHINE

Go to Software/microsoft/mssqlserver/mssqlserver and click on ListenOn Parameter on the right

Cut the last two lines out of the box, and make sure to get ride of any blank spaces at the end of pipe/local/query

5)  Now go into

Software/microsoft/mssqlserver/insql  (right above the last one) and click on the listenOn parameter on the right.  Paste your entry after the other one. Just like the picture.

Get rid of any extra spaces.  The reason we cut and paste is because O’s and 0’s look the same and we don’t want to type the wrong thing.  Now you need to restart the computer.

To configure the clients:

- Go into Client Configuration utility

- configure it like this.

Where the DLL Name can be picked out of a list “TCPIP Sockets”

And the connection string is the IP Address, and the port number.

And the Server name is what you type under server name in all of the INSQL clients like InSQL Configure, InSQL trend, etc.