Number  39	February 7, 1997

Deleting Files Older Than a Certain Date in InTouch
by Daniela Tulbure

There are situations where you want to delete a specified set of files in a directory from a script in InTouch based on their creation dates.  For example, say you were creating and storing report files in a specific directory which were created by FileWriteFields() and FileWriteMessage(), but you needed to automatically eliminate any outdated files.  By using the script functions WWDosCommand() and FileDeleteWC() that are on the Comprehensive Support Knowledge Base CD (KBCD), you can create an InTouch script to delete external files that are older than a specified date.  For example, say that you want delete all the files in the directory Mydir that are older than December 26, 1996 (12-26-96).  To do this, you would follow these steps:

- 1)	Create the Memory Message tagnames date_tag, file_tag and msg_tag and the Memory Integer tagname Flag.  Then, create a Pushbutton and link it to this Action script:

WWDOSCOMMAND("dir c:\Mydir/aa/od >>C:\intouch.16\file1.txt", "Maximize");

Flag=1;

- This Action script will create the file file1.txt in the c:\Intouch.16 directory which will contain the names of the files in the Mydir directory, chronologically ordered (that is, the oldest files are listed first).  By setting Flag to 1 (initial value is zero), it will trigger a Condition script that is created in the next step.

- 2)	Create a Condition script below based on the Condition Type “While True” every 2000 milliseconds and the Condition of “Flag”.  Here is the script, where fileoffset is a Memory Integer tagname with the initial value of zero:

For Index=1 to 9999

fileoffset=FileReadMessage("C:\intouch.16\file1.txt", fileoffset, msg_tag, 0);

date_tag=StringMid(msg_tag,28,8);

file_tag=StringLeft(msg_tag,8);

If date_tag <> "12-26-96"

Then

FileDeleteWC("C:\Mydir\"+file_tag+".*");

EndIf;

If date_tag=="12-26-96"

Then

Exit For;

EndIf;

Next;

Flag=0;

The Condition script will read the file1.txt, line by line, file by file, and it will compare the date_tag value, which is the file date for the particular file that is listed in each line, to the specified date, which in our case is “12-26-96” or December 26, 1996.  If the date_tag value is older than 12-26-96, then the file, which is the value of file_tag, will be deleted.  If the date_tag value is equal to 12-26-96, then the script will exit the condition loop and no further files will be deleted since the filenames are listed chronologically in file1.txt.  Note that you can make the script more flexible by storing the 12-26-96 date in a Message tagname.

The Tech Note publication is published periodically by the Wonderware Technical Support group.  Editor: Mari Fujii;  Technical Publications Coordinator: Sabrina Haag;  Director of  Technical Support: Sheila S. Tyler;  Publisher, Wonderware Corporation, 100 Technology Drive, Irvine CA 92618.  E-mail your questions or requests to techpubs@wonderware.com.

There is also technical information on the Wonderware software products on the WonderTech Web site at http://wondertech.wonderware.com, the Wonderware Bulletin Board Service at (714) 727-0726,  the Wonderware CompuServe forum (GO WONDER), the Comprehensive Support Knowledge Base CD, and the WonderFax FaxBack® service at (714) 450-5050.  Call Wonderware Technical Support at (714) 727-3299 for more information on the WonderTech Web site, the BBS, the Wonderware CompuServe forum, the Comprehensive Support Knowledge Base CD or the WonderFax system.

Copyright 1997 Wonderware Corporation.  All Rights Reserved.  Wonderware is a registered trademark of the Wonderware Corporation in the United States of America and/or other countries.

February 7, 1997  Number 39