Number  62	April 18, 1997

Using Microsoft Word with IndustrialSQL Server  by John Eng

Though there are many ways to input data into Microsoft Word for Windows, this Tech Note describes a procedure that best uses the features of Wonderware® IndustrialSQL Server™ Release 3.0 and later.  (An alternate procedure is to use a third party add-on product to Microsoft Word, such as DW Report from DataWorks.  See the Wonderware® WonderTools™ CD-ROM for more information on available third party tools.)

Microsoft Word connects to IndustrialSQL Server through the use of the Microsoft SQL Server ODBC driver.  Therefore, before you start up Microsoft Word, you must establish an ODBC connection to IndustrialSQL Server.  (See Chapter 2, “IndustrialSQL ClientTools” in the Wonderware IndustrialSQL Server User Guide for information on how to configure an ODBC connection on your computer.)

- Note  The procedure in this Tech Note describes how to have Microsoft Word call up Microsoft Query to build the SQL query statements and import the resulting data back into Word.  By default, Microsoft Query is not automatically loaded as a data source with Word.  You will need to first run the Setup program for Word and configure Microsoft Query as a data source.

# Procedure

- Start up Microsoft Word and open either a new document or an existing one.  Display the Database toolbar by selecting Toolbars/Database from the View menu as shown on the next page:

- Note  The screen shots shown in this procedure are from Microsoft Word 97.  The menu selections may vary slightly from what is shown here if you are running a different version of Word.

- You should see the Database toolbar appear:

- Click the Insert Database icon which is the seventh icon button from the left.  The Database dialog box should appear:

- Click the Get Data button.  The Open Data Source dialog box should appear:

- Click the MS Query button.  This will start up Microsoft Query where you can either create a new SQL query statement or open an existing one.  The Select Data Source dialog box should appear:

- Select IndustrialSQL Server from the Available Data Sources listbox as shown in the above example and click the Use button.  The SQL Server Login dialog box should appear as shown on the next page:

- Log onto IndustrialSQL Server by entering in your assigned userid and password.

- Create a new SQL query or open an existing one.  (See Chapter 5, “Client Documentation” in the Wonderware IndustrialSQL Server User Guide for more information on using Microsoft Query with IndustrialSQL Server.)

- Select Return Data to Microsoft Word from the Microsoft Query File menu to import the resulting data back into Word:

- Select Database from the Insert menu in Word.  The Database dialog box should appear:

- Click the Table Autoformat button.  The Autoformat dialog box should appear:

- Make your desired selections and click the OK button.

- Go back and click the Insert Data button on the Database dialog box.  The Insert Data dialog box should appear:

- Select All for Insert records and click the OK button.

Congratulations!  Your queried data should now appear in your Word document.

The Tech Note publication is published periodically by the Wonderware Technical Support group.  Editors: Mari Fujii and Sabrina Haag;  Technical Publications Coordinator: Sabrina Haag;  Director of  Technical Support: Sheila S. Kester;  Publisher, Wonderware Corporation, 100 Technology Drive, Irvine CA 92618.  E-mail your questions or requests to techpubs@wonderware.com.

There is also technical information on the Wonderware software products on the WonderTech Web site at http://wondertech.wonderware.com, the Wonderware Bulletin Board Service at (714) 727-0726,  the Wonderware CompuServe forum (GO WONDER), the Comprehensive Support Knowledge Base CD, and the WonderFax FaxBack® service at (714) 450-5050.  Call Wonderware Technical Support at (714) 727-3299 for more information on the WonderTech Web site, the BBS, the Wonderware CompuServe forum, the Comprehensive Support Knowledge Base CD or the WonderFax system.

Copyright 1997 Wonderware Corporation.  All Rights Reserved.  Wonderware is a registered trademark of the Wonderware Corporation in the United States of America and/or other countries.

April 18, 1997  Number 62