Number  88	September 15, 1997

Configuring InTouch to Communicate with Oracle7
by Richard Liddell

This Tech Note describes how to set up your Wonderware® InTouch™ application to communicate with Oracle7 version 7.2 and later through the use of the SQL Access script functions.  The procedure described here consists of the following main steps:

- Install the Oracle7 Standard Client on the same computer that has the InTouch application installed.

- Run the SQL_Net Easy Configuration command to locate the Database Alias for the SQL connection string.

- Create a Data Source name in the ODBC Administrator.

- Connect to the Oracle7 database by creating the SQLConnect() function call in an InTouch script.

# Step 1: Configuring the Oracle7 Client Program

Run the Setup.exe program from the Oracle7 CD-ROM product and select the Standard Client radio button as shown in figure 1.

Figure 1.  Installing the Oracle Standard Client Program

Select the Application User Setup radio button as the type of client installation as shown in figure 2.

Figure 2.  Selecting the Type of Standard Client Program Installation

Enter the hostname (example, WWServer) as shown in figure 3.  This is the name of the computer that has the Oracle7 Workgroup Server program installed.

Figure 3.  Entering the Hostname That Has the Oracle7 Database Server

# Step 2: Viewing and Modifying the Database Alias in SQL_Net

Select Programs from the Windows Start menu, then Oracle for Windows NT, then SQL_Net Easy Configuration.  The SQL*Net Easy Configuration dialog box will appear as shown in figure 4.  Select the View Configuration Information radio button as shown in the figure.  Click the OK button.

Figure 4. Selecting to View the Database Alias in SQL_Net

The Choose Database Alias dialog box will appear as shown in figure 5.  The default Database Alias name for the Oracle7 Database Server begins with wgs_ServerName_orcl.  Select the Database Alias name “wgs_ServerName_orcl” as shown in the figure and click the OK button.

Figure 5. Selecting the Default Database Alias for the Oracle7 Database Server

The Configuration Information dialog box will display as shown in figure 6.  Write down the Database Alias which will be used later in step 4 in the InTouch SQLConnect() function call.

Figure 6.  Assigned Database Alias for the Oracle7 Database Server

To modify the Database Alias name or change the Network protocol, select the Modify Database Alias radio button on the SQL *Net Easy Configuration dialog box that is shown in figure 4.  Select the Database Alias that you wish to modify as shown in figure 7.  Click the OK button.

Figure 7.  Selecting a Database Alias to Modify

In the Choose Protocol dialog box that appears as shown in figure 8, select the desired protocol radio button, then click the OK button.

Figure 8.  Selecting the Network Protocol

In the Enter Modification Information dialog box that appears as shown in figure 9, you may update the Database Alias or any other appropriate field.  Note that the Named Pipe Server is the computer name for the Oracle7 server.  Click the OK button to complete the modification.

Figure 9.  Modifying the Database Alias

# Step 3: Configuring the Oracle7 Data Source Name

Configure the Data Source Name for the Oracle7 client node by first selecting Settings from the Windows Start menu.  Select Control Panel, then double-click the ODBC program icon. (If you do not see the ODBC program icon, then you need to install the ODBC driver pack on the computer before continuing.)  The ODBC Data Source Administrator dialog box will appear as shown in figure 10.

Figure 10.  ODBC Data Source Administrator

Click the System DSN tab, then click the Add button.  The Create New Data Source dialog box will appear as shown in figure 11.

Figure 11.  Creating a New DSN for Oracle7

Highlight the appropriate ODBC driver for Oracle7 (example, “INTERSOLV 2.12 32-BIT Oracle7”), then click the Finish button.  The ODBC Oracle Driver Setup dialog box will appear as shown in figure 12.

Figure 12.  Entering the Data Source Name and Server Name

Type in a value for the Data Source Name (note that any name can be entered).  The Description field is optional.  Enter the Server Name for the Oracle7 Workgroup Server.  You do not need to click the Advanced button since the default settings will work fine with InTouch as shown in figure 12.  (If you do click the Advanced button, then simply click the Close button as shown in figure 13.)  Click the OK button on the ODBC Oracle Driver Setup dialog box.

Figure 13.  Use the Default Settings for the Oracle7 ODBC Driver

# Step 4: SQLConnect() Format

The InTouch SQLConnect() function is used to connect to any SQL-based database, including Oracle7 databases.  The call statement to the SQLConnect() function should be formatted as follows:

SQLConnect(ConnectionId,”<attrib1>=<value>;<attrib2>=<value>;…”);

Where <attrib1>, <attrib2>, … are the names of the required database attributes and <value> is the assigned value for each attribute.  Here are the Oracle7 attribute names and their assigned values to be used in the SQLConnect() function call.  Note that the attributes and their assigned values must be entered in the order listed.

Attribute	Value

DSN	The name of the data source as configured in the Microsoft ODBC Administrator program.

UID	The assigned username for the Oracle7 database.  Note that the specified username must have at least XXX access.

PWD	The password for the specified username.

SRVR	The SQL_Net Database Alias that was defined in step 2.

Create the SQLConnect() function call in an InTouch Action script.  Then execute the script to connect to the designated Oracle7 database.  You may then add the appropriate SQL Access function call statements in your InTouch application to query and retrieve the desired data from the connected Oracle7 database.

## Example

SQLConnect(ConnectionId,”DSN=Oracle;UID=SCOTT;PWD=TIGER;SRVR=wsg_wwServer_orcl”);

If the Database Alias was changed in step 2 from the default wsg_ServerName_orcl to a new name by using the SQL_Net Easy Configuration in step 2, remember to specify the new Database Alias in the SQLConnect() function call, as in this example where the Database Alias is WWServer:

SQLConnect(ConnectionId,”DSN=Oracle;UID=SCOTT;PWD=TIGER;SRVR=WWServer”);

The Tech Note publication is published periodically by the Wonderware Technical Support group.  Editors: Mari Fujii and Sabrina Haag;  Director of  Technical Support: Sheila S. Kester;  Publisher: Wonderware Corporation, 100 Technology Drive, Irvine CA 92618.  E-mail your questions or requests to techpubs@wonderware.com.

There is also technical information on the Wonderware software products on the WonderTech Web site at http://wondertech.wonderware.com, the Wonderware Bulletin Board Service at (714) 727-0726,  the Comprehensive Support Knowledge Base CD, and the WonderFax FaxBack® service at (714) 450-5050.  Call Wonderware Technical Support at (714) 727-3299 for more information on the WonderTech Web site, the BBS,  the Comprehensive Support Knowledge Base CD or the WonderFax system.

Copyright 1997 Wonderware Corporation.  All Rights Reserved.  Wonderware is a registered trademark of the Wonderware Corporation in the United States of America and/or other countries.                                        September 15, 1997  Number 88